[image: image1.png]



Nazareth, 06 December 2010.

Concerning:

State of the Bio-Rad, Bio-Plex 200 system, after fire at UCL, Tour Vésale, 3rd floor, 1200 Brussels.
On-site visit was performed by Patrick Couchement, senior service engineer on the 1st of December 2010.

Included in the system are:
-Bio-Plex 200 reader (Sn. LX10008109402)

-Bio-Plex Microplate platform (Sn. LXY07291102)

-PC (Sn. D24010741600815)

-Keyboard, mouse and screen

-Power- and connection cables

Findings:

Hereby I declare that the system is not repairable after both soot and heat damage. 

The system has been left on-site.

Patrick Couchement

Senior Service Engineer

Bio-Rad Laboratories NV/SA

Begoniastraat 5

B-9810 Nazareth

